## Drug Stock Preparation
Drug Dose Response
Drug | Vendor | Cat# | Lot #
Paclitaxel | Selleck Chemicals
Disulfiram | Selleck Chemicals | S1680 | 2
Master Drug Stock Preparation
Drug | [c] (µM) | X Stock | Amount | Vol. DMSO (uL)
(mg)
Paclitaxel | 10000 | 3000 |  |  | *Thawed from Frozen stock at -30C.
Disulfiram | 3000 | 1000 |  |  | *Thawed from Frozen stock at -30C.
0
0
1000X Drug Stock Preparation
Drug | Stock [C] (µM) | 1000X [c] (µM) | Vol. Stock (uL) | Vol. DMSO (µL)
Paclitaxel | 10000 | 1000 | 20 | 180
Disulfiram | 3000 | 3000 | 200 | N/A
0 | -
0 | -

## 1000X, 4X, 1X Drug Plate Layout
1000X Drug Stock Plate (uM)
Drug | Dilution Series (fold) |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | A | 11: DMSO Control
Paclitaxel | ~1/2 log | B |  | 1000 | 300 | 100 | 30 | 10 | 3 | 1 | 0.3 | 0.1 | 0
Disufliram | ~1/2 log | B |  | 3000 | 1000 | 300 | 100 | 30 | 10 | 3 | 1 | 0.3 | 0
|  | D | 11: 0
|  | E | 11: 0
|  | F | 11: 0
|  | G |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0
H
1000X Dilution Preps
Paclitaxel | Stock #2= 30µL (Stock #1) in 70uL DMSO;
Stock # N (3->9)= 10µL (Stock # N-2) + 90µL DMSO (Repeated 7 steps)
Everolimus | Stock # N (2->9)= 20µL (Stock # N-1) + 180µL DMSO (Repeated 7 steps)
Disulfiram | Stock #2= 33.3µL (Stock #1) in 66.7uL DMSO;
Stock # N (3->9)= 10µL (Stock # N-2) + 90µL DMSO (Repeated 7 steps)
PLATE #58, 59, 60, 61 (Paclitaxel):
| 4X Drug Stock Plate in Media (nM)= |  | 4: Single Drug= 2µL of 1000X + 498µL Culture Media
Dual Drug= 2µL of 1000X Disulfiram + 496µL Culture Media + 2µL 1000X Everolimus (highlighted as appropriate)
Drug | Dilution Series (fold) |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | A | Dual Drug= 2µL of 1000X Disulfiram + 496µL Culture Media + 2µL 1000X Everolimus (highlighted as appropriate) 11: DMSO Control
Paclitaxel | ~1/2 log | B |  | 4000 | 1200 | 400 | 120 | 40 | 12 | 4 | 1.2 | 0.4 | 0
Disulfiram | ~1/2 log | C |  | 12000 | 4000 | 1200 | 400 | 120 | 40 | 12 | 4 | 1.2 | 0
D | bar: 2 to Dual Drug= 2µL of 1000X Disulfiram + 496µL Culture Media + 2µL 1000X Everolimus (highlighted as appropriate) 11
Disulfiram (ALDHi) + 1nM Paclitaxel | ~1/2 log | E |  | 12000 | 4000 | 1200 | 400 | 120 | 40 | 12 | 4 | 1.2 | 0
Disulfiram (ALDHi) + 3nM Paclitaxel | ~1/2 log | F |  | 12000 | 4000 | 1200 | 400 | 120 | 40 | 12 | 4 | 1.2 | 0
Disulfiram (ALDHi) + 10nM Paclitaxel | ~1/2 log | G |  | 12000 | 4000 | 1200 | 400 | 120 | 40 | 12 | 4 | 1.2 | 0
Disulfiram (ALDHi) + 30nM Paclitaxel | ~1/2 log | H |  | 12000 | 4000 | 1200 | 400 | 120 | 40 | 12 | 4 | 1.2 | 0
PLATE #58, 59, 60, 61 (Paclitaxel):
| 1X Drug Stock Plate (nM) |  | 2: 10µL of 4x + 30µL of Media/Cells (By Tecan Robot, 384 well plate) | 1X Drug Stock Plate (log, nM)
|  |  | 2022-01-02 | 2022-03-04 | 2022-05-06 | 2022-07-08 | 2022-09-10 | 2022-11-12 | 13/14 | 15/16 | 17/18 | 19/20 | 21/22 | 23/24 |  | 2022-01-02 | 2022-03-04 | 2022-05-06 | 2022-07-08 | 2022-09-10 | 2022-11-12 | 13/14 | 15/16 | 17/18 | 19/20 | 21/22 | 23/24
|  | A/B | [12 empty] | A/B | bar: 2022-03-04 to 2022-11-12
Paclitaxel | ~1/2 log | C/D |  | 1000 | 300 | 100 | 30 | 10 | 3 | 1 | 0.3 | 0.1 | 0 |  | C/D |  | 3 | 2.477 | 2 | 1.477 | 1 | 0.477 | 0 | -0.523 | -1 | #NUM!
Disulfiram | ~1/2 log | E/F |  | 3000 | 1000 | 300 | 100 | 30 | 10 | 3 | 1 | 0.3 | 0 |  | E/F |  | 3.477 | 3 | 2.477 | 2 | 1.477 | 1 | 0.477 | 0 | -0.523 | #NUM!
|  | G/H | [12 empty] | G/H | bar: 2022-03-04 to 2022-11-12
Disulfiram (ALDHi) + 1nM Paclitaxel | ~1/2 log | I/J |  | 3000 | 1000 | 300 | 100 | 30 | 10 | 3 | 1 | 0.3 | 0 |  | I/J |  | 3.477 | 3 | 2.477 | 2 | 1.477 | 1 | 0.477 | 0 | -0.523 | #NUM!
Disulfiram (ALDHi) + 3nM Paclitaxel | ~1/2 log | K/L |  | 3000 | 1000 | 300 | 100 | 30 | 10 | 3 | 1 | 0.3 | 0 |  | K/L |  | 3.477 | 3 | 2.477 | 2 | 1.477 | 1 | 0.477 | 0 | -0.523 | #NUM!
Disulfiram (ALDHi) + 10nM Paclitaxel | ~1/2 log | M/N |  | 3000 | 1000 | 300 | 100 | 30 | 10 | 3 | 1 | 0.3 | 0 |  | M/N |  | 3.477 | 3 | 2.477 | 2 | 1.477 | 1 | 0.477 | 0 | -0.523 | #NUM!
Disulfiram (ALDHi) + 30nM Paclitaxel | ~1/2 log | O/P |  | 3000 | 1000 | 300 | 100 | 30 | 10 | 3 | 1 | 0.3 | 0 |  | O/P |  | 3.477 | 3 | 2.477 | 2 | 1.477 | 1 | 0.477 | 0 | -0.523 | #NUM!

## Plate58-T47D_SensV2_Pacli
Application: Tecan i-control |  |  |  | Tecan i-control , 1.12.4.0
Device: infinite M1000 |  |  |  | Serial number: 1009005297
Firmware: V_1.35_08/2010_S3F (Aug 11 2010/09.36.01) |  |  |  | MAI, V_1.35_08/2010_S3F (Aug 11 2010/09.36.01)
Date: | 2021-01-25
Time: | 10:05
System |  |  |  | BR12063
User |  |  |  | COHBRI\pcosgrove
Plate |  |  |  | Corning 384 Flat Bottom Black Polystyrene Cat. No.: 3655/3711 [COS384fb.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Luminescence
Attenuation |  |  |  | NONE
Integration Time |  |  |  | 1000 | ms
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | C3-N22
Start Time: | 2021-01-25 10:05
<> |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B | [25 empty] | Average
C | Paclitaxel |  |  | 34611 | 35150 | 35430 | 36515 | 32924 | 32334 | 25936 | 28632 | 29387 | 30758 | 38925 | 43146 | 96096 | 68416 | 144736 | 132534 | 136300 | 138599 | 137674 | 123439 |  |  | 138127.25
D |  |  |  | 42220 | 34560 | 39292 | 35206 | 37424 | 34013 | 28988 | 28363 | 34727 | 36013 | 44236 | 45475 | 84343 | 125848 | 153797 | 122340 | 147233 | 135141 | 149630 | 141766
E | Disulfiram |  |  | 89465 | 84333 | 80974 | 66655 | 47580 | 46010 | 58938 | 43191 | 134031 | 143082 | 136464 | 135789 | 130898 | 136785 | 136782 | 135530 | 146649 | 140666 | 134167 | 136876 |  |  | 136047.25
F |  |  |  | 115706 | 86882 | 78010 | 69983 | 59240 | 39705 | 56463 | 51678 | 151571 | 129744 | 143429 | 130668 | 143842 | 130462 | 141131 | 128073 | 159116 | 136367 | 141007 | 132139
G | None | [24 empty] | #DIV/0!
H
I | Disulfiram + 1nM Paclitaxel |  |  | 53437 | 50901 | 50960 | 45828 | 29081 | 25762 | 43859 | 33002 | 48109 | 37394 | 48040 | 47986 | 79912 | 65713 | 89947 | 71563 | 75580 | 80192 | 100522 | 80183 |  |  | 100866.25
J |  |  |  | 64869 | 67237 | 48632 | 37421 | 36010 | 33203 | 41066 | 34660 | 45342 | 51392 | 49794 | 59894 | 78602 | 116636 | 85859 | 125100 | 79338 | 124442 | 96035 | 126725
K | Disulfiram + 3nM Paclitaxel |  |  | 44350 | 36322 | 23710 | 27870 | 26793 | 24116 | 32906 | 23997 | 38356 | 33073 | 48886 | 42746 | 45501 | 39791 | 43881 | 38052 | 41849 | 40216 | 46158 | 44056 |  |  | 47528.75
L |  |  |  | 49715 | 46395 | 34696 | 28565 | 33911 | 21991 | 31582 | 25664 | 42052 | 42718 | 48718 | 40659 | 44236 | 43982 | 47214 | 45428 | 43914 | 40238 | 50087 | 49814
M | Disulfiram + 10nM Paclitaxel |  |  | 34372 | 34969 | 29145 | 24825 | 23787 | 17819 | 25849 | 20674 | 31464 | 28172 | 29686 | 26143 | 28576 | 26760 | 28146 | 28079 | 31286 | 29917 | 31937 | 28255 |  |  | 32406.25
N |  |  |  | 35205 | 29785 | 32695 | 25431 | 25427 | 16998 | 28080 | 21289 | 31912 | 33103 | 34638 | 33719 | 35473 | 34948 | 30305 | 34450 | 35872 | 37214 | 33893 | 35540
O | Disulfiram + 30nM Paclitaxel |  |  | 26370 | 23458 | 20605 | 16890 | 17884 | 14626 | 18657 | 17782 | 26714 | 25396 | 25581 | 27829 | 25542 | 26606 | 24226 | 26710 | 25847 | 26912 | 27602 | 25562 |  |  | 27167.75
P |  |  |  | 28588 | 23077 | 26993 | 20823 | 17334 | 14017 | 24308 | 18498 | 25291 | 26481 | 27611 | 24116 | 29979 | 24776 | 28774 | 24052 | 30894 | 26860 | 30226 | 25281
Avg DMSO Control |  | 1: 90995.15
<> |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B
C | Paclitaxel |  |  | 25.0573 | 25.4475 | 25.6503 | 26.4358 | 23.836 | 23.4088 | 18.7769 | 20.7287 | 21.2753 | 22.2679 | 28.1805 | 31.2364 | 69.5706 | 49.5311 | 104.7845 | 95.9507 | 98.6771 | 100.3415 | 99.6719 | 89.3661
D |  |  |  | 30.566 | 25.0204 | 28.4462 | 25.4881 | 27.0939 | 24.6244 | 20.9864 | 20.534 | 25.1413 | 26.0723 | 32.0255 | 32.9225 | 61.0618 | 91.1102 | 111.3444 | 88.5705 | 106.5923 | 97.838 | 108.3276 | 102.6343
E | Disulfiram |  |  | 64.77 | 61.0546 | 58.6228 | 48.2562 | 34.4465 | 33.3099 | 42.6694 | 31.269 | 97.0344 | 103.5871 | 98.7959 | 98.3072 | 94.7662 | 99.0283 | 99.0261 | 98.1197 | 106.1695 | 101.838 | 97.1329 | 99.0941
F |  |  |  | 83.7677 | 62.9 | 56.4769 | 50.6656 | 42.888 | 28.7452 | 40.8775 | 37.4133 | 109.7329 | 93.9308 | 103.8383 | 94.5997 | 104.1373 | 94.4506 | 102.1746 | 92.721 | 115.1952 | 98.7256 | 102.0849 | 95.6647
G | None |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
H |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
I | Disulfiram + 1nM Paclitaxel |  |  | 38.6868 | 36.8508 | 36.8935 | 33.1781 | 21.0538 | 18.6509 | 31.7526 | 23.8925 | 34.8295 | 27.0721 | 34.7795 | 34.7404 | 57.8539 | 47.5742 | 65.1189 | 51.8095 | 54.7177 | 58.0566 | 72.7749 | 58.0501
J |  |  |  | 46.9632 | 48.6776 | 35.2081 | 27.0917 | 26.0702 | 24.038 | 29.7306 | 25.0928 | 32.8263 | 37.2063 | 36.0494 | 43.3615 | 56.9055 | 84.441 | 62.1593 | 90.5687 | 57.4383 | 90.0923 | 69.5265 | 91.7451
K | Disulfiram + 3nM Paclitaxel |  |  | 32.1081 | 26.296 | 17.1653 | 20.177 | 19.3973 | 17.4593 | 23.823 | 17.3731 | 27.7686 | 23.9439 | 35.392 | 30.9468 | 32.9414 | 28.8075 | 31.7685 | 27.5485 | 30.2974 | 29.1152 | 33.417 | 31.8952
L |  |  |  | 35.9922 | 33.5886 | 25.1189 | 20.6802 | 24.5506 | 15.9208 | 22.8644 | 18.58 | 30.4444 | 30.9266 | 35.2704 | 29.4359 | 32.0255 | 31.8417 | 34.1815 | 32.8885 | 31.7924 | 29.1311 | 36.2615 | 36.0638
M | Disulfiram + 10nM Paclitaxel |  |  | 24.8843 | 25.3165 | 21.1001 | 17.9726 | 17.2211 | 12.9004 | 18.7139 | 14.9674 | 22.779 | 20.3957 | 21.4918 | 18.9268 | 20.6882 | 19.3734 | 20.3769 | 20.3284 | 22.6501 | 21.659 | 23.1214 | 20.4558
N |  |  |  | 25.4874 | 21.5634 | 23.6702 | 18.4113 | 18.4084 | 12.306 | 20.3291 | 15.4126 | 23.1033 | 23.9656 | 25.0769 | 24.4115 | 25.6814 | 25.3013 | 21.9399 | 24.9408 | 25.9703 | 26.9418 | 24.5375 | 25.7299
O | Disulfiram + 30nM Paclitaxel |  |  | 19.0911 | 16.9829 | 14.9174 | 12.2279 | 12.9475 | 10.5888 | 13.5071 | 12.8736 | 19.3401 | 18.3859 | 18.5199 | 20.1474 | 18.4916 | 19.2619 | 17.5389 | 19.3372 | 18.7125 | 19.4835 | 19.983 | 18.5061
P |  |  |  | 20.6969 | 16.7071 | 19.5421 | 15.0752 | 12.5493 | 10.1479 | 17.5983 | 13.392 | 18.3099 | 19.1715 | 19.9895 | 17.4593 | 21.7039 | 17.9371 | 20.8315 | 17.4129 | 22.3663 | 19.4458 | 21.8827 | 18.3027
<> |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B
C | Paclitaxel | 2: Avg; 3: 26.5228; 5: 26.5051; 7: 24.7408; 9: 20.2565; 11: 23.6892; 13: 31.0913; 15: 67.8184; 17: 100.1625; 19: 100.8622; 21: 100
D |  | 2: StDev; 3: 2.7024; 5: 1.3587; 7: 1.6475; 9: 1.0037; 11: 2.2829; 13: 2.0591; 15: 17.5656; 17: 9.9752; 19: 3.9592; 21: 7.9472
E | Disulfiram | 2: Avg; 3: 68.1231; 5: 53.5054; 7: 34.8474; 9: 38.0573; 11: 101.0713; 13: 98.8853; 15: 98.0956; 17: 98.0103; 19: 105.4821; 21: 98.4941
F |  | 2: StDev; 3: 10.5395; 5: 4.8523; 7: 5.8995; 9: 5.024; 11: 7.0388; 13: 3.7965; 15: 4.5366; 17: 3.9311; 19: 7.1588; 21: 2.7756
G | None | 2: Avg; 3: 0; 5: 0; 7: 0; 9: 0; 11: 0; 13: 0; 15: 0; 17: 0; 19: 0; 21: 0
H |  | 2: StDev; 3: 0; 5: 0; 7: 0; 9: 0; 11: 0; 13: 0; 15: 0; 17: 0; 19: 0; 21: 0
I | Disulfiram + 1nM Paclitaxel | 2: Avg; 3: 42.7946; 5: 33.0929; 7: 22.4532; 9: 27.6171; 11: 32.9835; 13: 37.2327; 15: 61.6937; 17: 67.4141; 19: 65.0762; 21: 73.0241
J |  | 2: StDev; 3: 5.8932; 5: 4.2794; 7: 3.2665; 9: 3.7334; 11: 4.3285; 13: 4.1308; 15: 15.8584; 17: 16.4572; 19: 16.7403; 21: 13.988
K | Disulfiram + 3nM Paclitaxel | 2: Avg; 3: 31.9962; 5: 20.7854; 7: 19.332; 9: 20.6601; 11: 28.2709; 13: 32.7613; 15: 31.404; 17: 31.5968; 19: 30.084; 21: 34.4094
L |  | 2: StDev; 3: 4.1234; 5: 3.2795; 7: 3.7586; 9: 3.162; 11: 3.2017; 13: 3.0313; 15: 1.7966; 17: 2.8733; 19: 1.2663; 21: 2.1192
M | Disulfiram + 10nM Paclitaxel | 2: Avg; 3: 24.3129; 5: 20.2885; 7: 15.209; 9: 17.3557; 11: 22.5609; 13: 22.4767; 15: 22.7611; 17: 21.8965; 19: 24.3053; 21: 23.4612
N |  | 2: StDev; 3: 1.8505; 5: 2.6446; 7: 3.0573; 9: 2.5927; 11: 1.5279; 13: 2.8329; 15: 3.2018; 17: 2.1632; 19: 2.5473; 21: 2.2696
O | Disulfiram + 30nM Paclitaxel | 2: Avg; 3: 18.3695; 5: 15.4407; 7: 11.5584; 9: 14.3428; 11: 18.8019; 13: 19.029; 15: 19.3486; 17: 18.7801; 19: 20.002; 21: 19.6686
P |  | 2: StDev; 3: 1.8818; 5: 3.0305; 7: 1.3954; 9: 2.1878; 11: 0.52957; 13: 1.2776; 15: 1.6615; 17: 1.6257; 19: 1.6157; 21: 1.6551
|  |  |  | Paclitaxel |  | Disulfiram |  | None |  | Disulfiram + 1nM Paclitaxel |  | Disulfiram + 3nM Paclitaxel |  | Disulfiram + 10nM Paclitaxel |  | Disulfiram + 30nM Paclitaxel
|  |  |  | Average | StDev | Average | StDev | Average | StDev | Average | StDev | Average | StDev | Average | StDev | Average | StDev
|  |  |  | 26.5228 | 2.7024 | 68.1231 | 10.5395 | 0 | 0 | 42.7946 | 5.8932 | 31.9962 | 4.1234 | 24.3129 | 1.8505 | 18.3695 | 1.8818
|  |  |  | 26.5051 | 1.3587 | 53.5054 | 4.8523 | 0 | 0 | 33.0929 | 4.2794 | 20.7854 | 3.2795 | 20.2885 | 2.6446 | 15.4407 | 3.0305
|  |  |  | 24.7408 | 1.6475 | 34.8474 | 5.8995 | 0 | 0 | 22.4532 | 3.2665 | 19.332 | 3.7586 | 15.209 | 3.0573 | 11.5584 | 1.3954
|  |  |  | 20.2565 | 1.0037 | 38.0573 | 5.024 | 0 | 0 | 27.6171 | 3.7334 | 20.6601 | 3.162 | 17.3557 | 2.5927 | 14.3428 | 2.1878
|  |  |  | 23.6892 | 2.2829 | 101.0713 | 7.0388 | 0 | 0 | 32.9835 | 4.3285 | 28.2709 | 3.2017 | 22.5609 | 1.5279 | 18.8019 | 0.52957
|  |  |  | 31.0913 | 2.0591 | 98.8853 | 3.7965 | 0 | 0 | 37.2327 | 4.1308 | 32.7613 | 3.0313 | 22.4767 | 2.8329 | 19.029 | 1.2776
|  |  |  | 67.8184 | 17.5656 | 98.0956 | 4.5366 | 0 | 0 | 61.6937 | 15.8584 | 31.404 | 1.7966 | 22.7611 | 3.2018 | 19.3486 | 1.6615
|  |  |  | 100.1625 | 9.9752 | 98.0103 | 3.9311 | 0 | 0 | 67.4141 | 16.4572 | 31.5968 | 2.8733 | 21.8965 | 2.1632 | 18.7801 | 1.6257
|  |  |  | 100.8622 | 3.9592 | 105.4821 | 7.1588 | 0 | 0 | 65.0762 | 16.7403 | 30.084 | 1.2663 | 24.3053 | 2.5473 | 20.002 | 1.6157
|  |  | Control | 100 | 7.9472 | 98.4941 | 2.7756 | 0 | 0 | 73.0241 | 13.988 | 34.4094 | 2.1192 | 23.4612 | 2.2696 | 19.6686 | 1.6551

## Plate59-T47DoxoRC2_Pacli
Application: Tecan i-control |  |  |  | Tecan i-control , 1.12.4.0
Device: infinite M1000 |  |  |  | Serial number: 1009005297
Firmware: V_1.35_08/2010_S3F (Aug 11 2010/09.36.01) |  |  |  | MAI, V_1.35_08/2010_S3F (Aug 11 2010/09.36.01)
Date: | 2021-01-25
Time: | 10:05
System |  |  |  | BR12063
User |  |  |  | COHBRI\pcosgrove
Plate |  |  |  | Corning 384 Flat Bottom Black Polystyrene Cat. No.: 3655/3711 [COS384fb.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Luminescence
Attenuation |  |  |  | NONE
Integration Time |  |  |  | 1000 | ms
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | C3-N22
Start Time: | 2021-01-25 10:05
<> |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B | [25 empty] | Average
C | Paclitaxel |  |  | 12101 | 11744 | 13767 | 12759 | 12297 | 12092 | 12818 | 11448 | 11476 | 11147 | 16884 | 14175 | 22241 | 22161 | 24083 | 21414 | 22387 | 21883 | 20796 | 20441 |  |  | 21300.25
D |  |  |  | 14343 | 10629 | 14276 | 10952 | 13618 | 11902 | 12975 | 9879 | 11535 | 11554 | 17211 | 17851 | 25612 | 22041 | 24598 | 17906 | 24934 | 22631 | 24820 | 19144
E | Disulfiram |  |  | 585 | 199 | 1160 | 353 | 1000 | 895 | 2633 | 2548 | 19148 | 19780 | 23352 | 22358 | 22295 | 23631 | 23804 | 18658 | 20233 | 21312 | 25017 | 21472 |  |  | 23688
F |  |  |  | 397 | 946 | 1735 | 572 | 1322 | 625 | 3131 | 2432 | 22493 | 20811 | 24912 | 21317 | 27111 | 23039 | 26864 | 20307 | 24978 | 21971 | 26636 | 21627
G | None | [24 empty] | #DIV/0!
H
I | Disulfiram + 1nM Paclitaxel |  |  | 908 | 540 | 413 | 368 | 741 | 1159 | 2221 | 1901 | 15233 | 13004 | 16233 | 15154 | 21026 | 22435 | 20501 | 19738 | 23014 | 21285 | 22372 | 20706 |  |  | 23022.25
J |  |  |  | 1864 | 423 | 478 | 206 | 1702 | 830 | 2702 | 2142 | 15956 | 13153 | 18515 | 20677 | 23392 | 20572 | 21203 | 21277 | 23784 | 25300 | 27030 | 21981
K | Disulfiram + 3nM Paclitaxel |  |  | 913 | 404 | 566 | 271 | 899 | 808 | 2568 | 1824 | 14365 | 11980 | 16371 | 14096 | 15910 | 14284 | 14858 | 13383 | 14555 | 13860 | 15593 | 15214 |  |  | 15948.25
L |  |  |  | 1013 | 826 | 603 | 158 | 1219 | 717 | 2126 | 2016 | 14388 | 12968 | 17258 | 16417 | 15424 | 15714 | 17387 | 15395 | 16205 | 15228 | 17881 | 15105
M | Disulfiram + 10nM Paclitaxel |  |  | 572 | 389 | 196 | 240 | 488 | 980 | 2103 | 1512 | 12702 | 10517 | 11114 | 12055 | 12282 | 9856 | 11721 | 11798 | 13912 | 10660 | 11773 | 10312 |  |  | 11331.75
N |  |  |  | 1533 | 579 | 655 | 774 | 1438 | 755 | 2443 | 2890 | 13055 | 11755 | 13683 | 12266 | 13058 | 12789 | 13733 | 12531 | 13329 | 11761 | 11792 | 11450
O | Disulfiram + 30nM Paclitaxel |  |  | 250 | 394 | 304 | 368 | 357 | 385 | 2224 | 1453 | 12048 | 10559 | 11916 | 10258 | 10457 | 10179 | 9264 | 10546 | 10575 | 11059 | 12800 | 10113 |  |  | 10742.75
P |  |  |  | 1095 | 333 | 224 | 401 | 900 | 940 | 2117 | 2102 | 11331 | 10214 | 12027 | 9542 | 11835 | 10987 | 11671 | 9346 | 12234 | 9486 | 11348 | 8710
Avg DMSO Control |  | 1: 19058.1
<> |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B
C | Paclitaxel |  |  | 56.8115 | 55.1355 | 64.633 | 59.9007 | 57.7317 | 56.7693 | 60.1777 | 53.7458 | 53.8773 | 52.3327 | 79.2667 | 66.5485 | 104.4166 | 104.041 | 113.0644 | 100.534 | 105.1021 | 102.7359 | 97.6327 | 95.966
D |  |  |  | 67.3372 | 49.9008 | 67.0227 | 51.4172 | 63.9335 | 55.8773 | 60.9148 | 46.3797 | 54.1543 | 54.2435 | 80.8019 | 83.8065 | 120.2427 | 103.4777 | 115.4822 | 84.0647 | 117.0597 | 106.2476 | 116.5245 | 89.8769
E | Disulfiram |  |  | 2.7464 | 0.93426 | 5.4459 | 1.6573 | 4.6948 | 4.2018 | 12.3614 | 11.9623 | 89.8957 | 92.8628 | 109.6325 | 104.9659 | 104.6701 | 110.9424 | 111.7546 | 87.5952 | 94.9895 | 100.0552 | 117.4493 | 100.8063
F |  |  |  | 1.8638 | 4.4413 | 8.1454 | 2.6854 | 6.2065 | 2.9342 | 14.6994 | 11.4177 | 105.5997 | 97.7031 | 116.9564 | 100.0786 | 127.2802 | 108.163 | 126.1206 | 95.3369 | 117.2662 | 103.149 | 125.0502 | 101.534
G | None |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
H |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
I | Disulfiram + 1nM Paclitaxel |  |  | 4.2629 | 2.5352 | 1.9389 | 1.7277 | 3.4788 | 5.4413 | 10.4271 | 8.9248 | 71.5156 | 61.0509 | 76.2104 | 71.1447 | 98.7125 | 105.3274 | 96.2477 | 92.6656 | 108.0457 | 99.9284 | 105.0316 | 97.2101
J |  |  |  | 8.7511 | 1.9859 | 2.2441 | 0.96712 | 7.9905 | 3.8967 | 12.6853 | 10.0562 | 74.9099 | 61.7504 | 86.9239 | 97.074 | 109.8203 | 96.581 | 99.5434 | 99.8908 | 111.6607 | 118.7779 | 126.8999 | 103.196
K | Disulfiram + 3nM Paclitaxel |  |  | 4.2863 | 1.8967 | 2.6572 | 1.2723 | 4.2206 | 3.7934 | 12.0562 | 8.5633 | 67.4405 | 56.2435 | 76.8583 | 66.1776 | 74.694 | 67.0602 | 69.755 | 62.8302 | 68.3325 | 65.0697 | 73.2057 | 71.4264
L |  |  |  | 4.7558 | 3.8779 | 2.831 | 0.74178 | 5.7229 | 3.3662 | 9.9811 | 9.4647 | 67.5485 | 60.8819 | 81.0225 | 77.0742 | 72.4123 | 73.7738 | 81.6281 | 72.2761 | 76.0789 | 71.4921 | 83.9474 | 70.9147
M | Disulfiram + 10nM Paclitaxel |  |  | 2.6854 | 1.8263 | 0.92018 | 1.1267 | 2.2911 | 4.6009 | 9.8731 | 7.0985 | 59.6331 | 49.375 | 52.1778 | 56.5956 | 57.6613 | 46.2718 | 55.0275 | 55.389 | 65.3138 | 50.0464 | 55.2717 | 48.4126
N |  |  |  | 7.1971 | 2.7183 | 3.0751 | 3.6338 | 6.7511 | 3.5446 | 11.4693 | 13.5679 | 61.2904 | 55.1871 | 64.2387 | 57.5862 | 61.3044 | 60.0415 | 64.4734 | 58.8303 | 62.5767 | 55.2153 | 55.3609 | 53.7552
O | Disulfiram + 30nM Paclitaxel |  |  | 1.1737 | 1.8497 | 1.4272 | 1.7277 | 1.676 | 1.8075 | 10.4412 | 6.8215 | 56.5627 | 49.5722 | 55.943 | 48.1591 | 49.0933 | 47.7882 | 43.4924 | 49.5112 | 49.6473 | 51.9196 | 60.0932 | 47.4783
P |  |  |  | 5.1408 | 1.5634 | 1.0516 | 1.8826 | 4.2253 | 4.4131 | 9.9389 | 9.8684 | 53.1966 | 47.9525 | 56.4641 | 44.7976 | 55.5627 | 51.5816 | 54.7928 | 43.8774 | 57.4359 | 44.5347 | 53.2764 | 40.8915
<> |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B
C | Paclitaxel | 2: Avg; 3: 57.2963; 5: 60.7434; 7: 58.578; 9: 55.3045; 11: 53.652; 13: 77.6059; 15: 108.0445; 17: 103.2863; 19: 107.7863; 21: 100
D |  | 2: StDev; 3: 7.3125; 5: 6.8859; 7: 3.6498; 9: 6.7652; 11: 0.8932; 13: 7.6089; 15: 8.1413; 17: 14.3921; 19: 6.3528; 21: 11.5096
E | Disulfiram | 2: Avg; 3: 2.4964; 5: 4.4835; 7: 4.5093; 9: 12.6102; 11: 96.5153; 13: 107.9084; 15: 112.7639; 17: 105.2018; 19: 103.865; 21: 111.21
F |  | 2: StDev; 3: 1.4928; 5: 2.9187; 7: 1.3528; 9: 1.4455; 11: 6.858; 13: 7.1834; 15: 10.012; 17: 17.2031; 19: 9.5463; 21: 12.0047
G | None | 2: Avg; 3: 0; 5: 0; 7: 0; 9: 0; 11: 0; 13: 0; 15: 0; 17: 0; 19: 0; 21: 0
H |  | 2: StDev; 3: 0; 5: 0; 7: 0; 9: 0; 11: 0; 13: 0; 15: 0; 17: 0; 19: 0; 21: 0
I | Disulfiram + 1nM Paclitaxel | 2: Avg; 3: 4.3838; 5: 1.7195; 7: 5.2018; 9: 10.5234; 11: 67.3067; 13: 82.8382; 15: 102.6103; 17: 97.0869; 19: 109.6032; 21: 108.0844
J |  | 2: StDev; 3: 3.0689; 5: 0.54452; 7: 2.0418; 9: 1.5766; 11: 6.9649; 13: 11.5472; 15: 6.0804; 17: 3.3739; 19: 7.8408; 21: 12.9806
K | Disulfiram + 3nM Paclitaxel | 2: Avg; 3: 3.7042; 5: 1.8756; 7: 4.2758; 9: 10.0163; 11: 63.0286; 13: 75.2832; 15: 71.9851; 17: 71.6224; 19: 70.2433; 21: 74.8735
L |  | 2: StDev; 3: 1.2572; 5: 1.0285; 7: 1.0259; 9: 1.4808; 11: 5.4937; 13: 6.365; 15: 3.4144; 17: 7.7746; 19: 4.6915; 21: 6.1284
M | Disulfiram + 10nM Paclitaxel | 2: Avg; 3: 3.6068; 5: 2.1889; 7: 4.2969; 9: 10.5022; 11: 56.3714; 13: 57.6496; 15: 56.3198; 17: 58.4301; 19: 58.288; 21: 53.2001
N |  | 2: StDev; 3: 2.4289; 5: 1.3676; 7: 1.889; 9: 2.7273; 11: 5.3288; 13: 4.9824; 15: 6.8668; 17: 4.3783; 19: 6.9551; 21: 3.2756
O | Disulfiram + 30nM Paclitaxel | 2: Avg; 3: 2.4319; 5: 1.5223; 7: 3.0305; 9: 9.2675; 11: 51.821; 13: 51.3409; 15: 51.0064; 17: 47.9185; 19: 50.8844; 21: 50.4349
P |  | 2: StDev; 3: 1.8271; 5: 0.36632; 7: 1.491; 9: 1.6505; 11: 3.847; 13: 5.7841; 15: 3.4209; 17: 5.3452; 19: 5.3493; 21: 8.1889
|  |  |  | Paclitaxel |  | Disulfiram |  | None |  | Disulfiram + 1nM Paclitaxel |  | Disulfiram + 3nM Paclitaxel |  | Disulfiram + 10nM Paclitaxel |  | Disulfiram + 30nM Paclitaxel
|  |  |  | Average | StDev | Average | StDev | Average | StDev | Average | StDev | Average | StDev | Average | StDev | Average | StDev
|  |  |  | 57.2963 | 7.3125 | 2.4964 | 1.4928 | 0 | 0 | 4.3838 | 3.0689 | 3.7042 | 1.2572 | 3.6068 | 2.4289 | 2.4319 | 1.8271
|  |  |  | 60.7434 | 6.8859 | 4.4835 | 2.9187 | 0 | 0 | 1.7195 | 0.54452 | 1.8756 | 1.0285 | 2.1889 | 1.3676 | 1.5223 | 0.36632
|  |  |  | 58.578 | 3.6498 | 4.5093 | 1.3528 | 0 | 0 | 5.2018 | 2.0418 | 4.2758 | 1.0259 | 4.2969 | 1.889 | 3.0305 | 1.491
|  |  |  | 55.3045 | 6.7652 | 12.6102 | 1.4455 | 0 | 0 | 10.5234 | 1.5766 | 10.0163 | 1.4808 | 10.5022 | 2.7273 | 9.2675 | 1.6505
|  |  |  | 53.652 | 0.8932 | 96.5153 | 6.858 | 0 | 0 | 67.3067 | 6.9649 | 63.0286 | 5.4937 | 56.3714 | 5.3288 | 51.821 | 3.847
|  |  |  | 77.6059 | 7.6089 | 107.9084 | 7.1834 | 0 | 0 | 82.8382 | 11.5472 | 75.2832 | 6.365 | 57.6496 | 4.9824 | 51.3409 | 5.7841
|  |  |  | 108.0445 | 8.1413 | 112.7639 | 10.012 | 0 | 0 | 102.6103 | 6.0804 | 71.9851 | 3.4144 | 56.3198 | 6.8668 | 51.0064 | 3.4209
|  |  |  | 103.2863 | 14.3921 | 105.2018 | 17.2031 | 0 | 0 | 97.0869 | 3.3739 | 71.6224 | 7.7746 | 58.4301 | 4.3783 | 47.9185 | 5.3452
|  |  |  | 107.7863 | 6.3528 | 103.865 | 9.5463 | 0 | 0 | 109.6032 | 7.8408 | 70.2433 | 4.6915 | 58.288 | 6.9551 | 50.8844 | 5.3493
|  |  | Control | 100 | 11.5096 | 111.21 | 12.0047 | 0 | 0 | 108.0844 | 12.9806 | 74.8735 | 6.1284 | 53.2001 | 3.2756 | 50.4349 | 8.1889

## Plate60-MCF7_SensV2_Pacli
Application: Tecan i-control |  |  |  | Tecan i-control , 1.12.4.0
Device: infinite M1000 |  |  |  | Serial number: 1009005297
Firmware: V_1.35_08/2010_S3F (Aug 11 2010/09.36.01) |  |  |  | MAI, V_1.35_08/2010_S3F (Aug 11 2010/09.36.01)
Date: | 2021-01-25
Time: | 10:05
System |  |  |  | BR12063
User |  |  |  | COHBRI\pcosgrove
Plate |  |  |  | Corning 384 Flat Bottom Black Polystyrene Cat. No.: 3655/3711 [COS384fb.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Luminescence
Attenuation |  |  |  | NONE
Integration Time |  |  |  | 1000 | ms
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | C3-N22
Start Time: | 2021-01-25 10:05
<> |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B | [25 empty] | Average
C | Paclitaxel |  |  | 18491 | 16406 | 19578 | 15313 | 19677 | 16844 | 18768 | 17285 | 28658 | 21989 | 33595 | 33260 | 78892 | 63950 | 94759 | 83571 | 91139 | 83095 | 87399 | 78326 |  |  | 80728.5
D |  |  |  | 19395 | 14417 | 18634 | 14271 | 22876 | 16083 | 21843 | 15376 | 27263 | 24862 | 39529 | 32411 | 69301 | 76020 | 87869 | 73908 | 90880 | 69094 | 87867 | 69322
E | Disulfiram |  |  | 51733 | 57990 | 36670 | 40330 | 32412 | 34335 | 36442 | 31048 | 78703 | 84349 | 94948 | 76173 | 90799 | 86988 | 97534 | 78639 | 97299 | 86570 | 86157 | 77574 |  |  | 78429.75
F |  |  |  | 69559 | 49238 | 38218 | 26986 | 30194 | 22003 | 39475 | 24467 | 87149 | 70723 | 87921 | 68429 | 92178 | 74151 | 92164 | 68501 | 86723 | 68451 | 79788 | 70200
G | None | [24 empty] | #DIV/0!
H
I | Disulfiram + 1nM Paclitaxel |  |  | 34854 | 35977 | 31975 | 24420 | 11858 | 9398 | 27662 | 20082 | 34755 | 30287 | 34564 | 33208 | 60013 | 64528 | 70917 | 67535 | 75576 | 61699 | 67587 | 55710 |  |  | 63296.75
J |  |  |  | 43543 | 36918 | 34424 | 21626 | 17254 | 16199 | 26312 | 21282 | 33480 | 38344 | 35007 | 39971 | 61083 | 57115 | 64024 | 61721 | 70883 | 62913 | 63275 | 66615
K | Disulfiram + 3nM Paclitaxel |  |  | 22020 | 21498 | 12729 | 13176 | 10133 | 11340 | 20184 | 16549 | 28978 | 22880 | 32316 | 24229 | 36971 | 27943 | 37941 | 32468 | 33483 | 32110 | 38562 | 31153 |  |  | 34179.5
L |  |  |  | 30079 | 19727 | 19547 | 13488 | 15845 | 14548 | 20032 | 15042 | 32972 | 29342 | 33614 | 29539 | 36024 | 25751 | 38369 | 31437 | 36596 | 30315 | 35805 | 31198
M | Disulfiram + 10nM Paclitaxel |  |  | 19070 | 13422 | 7369 | 10922 | 8609 | 7551 | 18893 | 15227 | 24046 | 17325 | 24540 | 19862 | 20219 | 24256 | 21593 | 22049 | 23963 | 20078 | 22011 | 21438 |  |  | 23196.75
N |  |  |  | 19856 | 14853 | 12853 | 9317 | 12710 | 7121 | 17532 | 13104 | 24030 | 30309 | 21957 | 24446 | 26494 | 23039 | 24866 | 29671 | 26009 | 22203 | 24665 | 24673
O | Disulfiram + 30nM Paclitaxel |  |  | 14106 | 8577 | 10686 | 6401 | 11553 | 7291 | 13086 | 11364 | 16400 | 13599 | 19782 | 16844 | 17870 | 16588 | 20326 | 14607 | 18590 | 16194 | 19776 | 16332 |  |  | 16585.5
P |  |  |  | 13351 | 8484 | 15428 | 5132 | 7482 | 6129 | 14870 | 10220 | 15726 | 14568 | 18555 | 15769 | 18529 | 14700 | 17493 | 13323 | 16810 | 14129 | 17811 | 12423
Avg DMSO Control |  | 1: 55966.25
<> |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B
C | Paclitaxel |  |  | 22.9052 | 20.3224 | 24.2517 | 18.9685 | 24.3743 | 20.865 | 23.2483 | 21.4113 | 35.4992 | 27.2382 | 41.6148 | 41.1998 | 97.7251 | 79.2161 | 117.3799 | 103.5211 | 112.8957 | 102.9314 | 108.2629 | 97.024
D |  |  |  | 24.025 | 17.8586 | 23.0823 | 17.6778 | 28.337 | 19.9223 | 27.0574 | 19.0466 | 33.7712 | 30.7971 | 48.9654 | 40.1482 | 85.8445 | 94.1675 | 108.8451 | 91.5513 | 112.5749 | 85.5881 | 108.8426 | 85.8705
E | Disulfiram |  |  | 64.0827 | 71.8334 | 45.4239 | 49.9576 | 40.1494 | 42.5314 | 45.1414 | 38.4598 | 97.491 | 104.4848 | 117.614 | 94.357 | 112.4745 | 107.7538 | 120.8173 | 97.4117 | 120.5262 | 107.236 | 106.7244 | 96.0925
F |  |  |  | 86.1641 | 60.9921 | 47.3414 | 33.4281 | 37.4019 | 27.2556 | 48.8985 | 30.3078 | 107.9532 | 87.606 | 108.9095 | 84.7644 | 114.1827 | 91.8523 | 114.1654 | 84.8536 | 107.4255 | 84.7916 | 98.835 | 86.9581
G | None |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
H |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
I | Disulfiram + 1nM Paclitaxel |  |  | 43.1743 | 44.5654 | 39.6081 | 30.2495 | 14.6887 | 11.6415 | 34.2655 | 24.876 | 43.0517 | 37.5171 | 42.8151 | 41.1354 | 74.3393 | 79.9321 | 87.8463 | 83.6569 | 93.6175 | 76.4278 | 83.7214 | 69.0091
J |  |  |  | 53.9376 | 45.7311 | 42.6417 | 26.7886 | 21.3729 | 20.066 | 32.5932 | 26.3624 | 41.4723 | 47.4975 | 43.3639 | 49.5129 | 75.6647 | 70.7495 | 79.3078 | 76.455 | 87.8042 | 77.9316 | 78.38 | 82.5173
K | Disulfiram + 3nM Paclitaxel |  |  | 27.2766 | 26.63 | 15.7677 | 16.3214 | 12.5519 | 14.0471 | 25.0023 | 20.4996 | 35.8956 | 28.3419 | 40.0305 | 30.0129 | 45.7967 | 34.6136 | 46.9983 | 40.2188 | 41.4761 | 39.7753 | 47.7675 | 38.5898
L |  |  |  | 37.2595 | 24.4362 | 24.2133 | 16.7079 | 19.6275 | 18.0209 | 24.814 | 18.6328 | 40.8431 | 36.3465 | 41.6383 | 36.5905 | 44.6236 | 31.8983 | 47.5284 | 38.9416 | 45.3322 | 37.5518 | 44.3524 | 38.6456
M | Disulfiram + 10nM Paclitaxel |  |  | 23.6224 | 16.6261 | 9.1281 | 13.5293 | 10.6641 | 9.3536 | 23.4031 | 18.862 | 29.7863 | 21.4608 | 30.3982 | 24.6035 | 25.0457 | 30.0464 | 26.7477 | 27.3125 | 29.6834 | 24.871 | 27.2655 | 26.5557
N |  |  |  | 24.596 | 18.3987 | 15.9213 | 11.5412 | 15.7441 | 8.8209 | 21.7172 | 16.2322 | 29.7664 | 37.5444 | 27.1986 | 30.2817 | 32.8186 | 28.5389 | 30.802 | 36.7541 | 32.2179 | 27.5033 | 30.553 | 30.5629
O | Disulfiram + 30nM Paclitaxel |  |  | 17.4734 | 10.6245 | 13.237 | 7.929 | 14.3109 | 9.0315 | 16.2099 | 14.0768 | 20.315 | 16.8454 | 24.5044 | 20.865 | 22.1359 | 20.5479 | 25.1782 | 18.094 | 23.0278 | 20.0598 | 24.4969 | 20.2308
P |  |  |  | 16.5381 | 10.5093 | 19.111 | 6.3571 | 9.2681 | 7.5921 | 18.4198 | 12.6597 | 19.4801 | 18.0457 | 22.9844 | 19.5334 | 22.9522 | 18.2092 | 21.6689 | 16.5035 | 20.8229 | 17.5019 | 22.0628 | 15.3886
<> |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B
C | Paclitaxel | 2: Avg; 3: 21.2778; 5: 20.9951; 7: 23.3746; 9: 22.6909; 11: 31.8264; 13: 42.982; 15: 89.2383; 17: 105.3243; 19: 103.4975; 21: 100
D |  | 2: StDev; 3: 2.7567; 5: 3.1661; 7: 3.8228; 9: 3.3811; 11: 3.6232; 13: 4.0364; 15: 8.3323; 17: 10.8117; 19: 12.8035; 21: 10.8776
E | Disulfiram | 2: Avg; 3: 70.7681; 5: 44.0377; 7: 36.8346; 9: 40.7019; 11: 99.3837; 13: 101.4112; 15: 106.5658; 17: 104.312; 19: 104.9948; 21: 97.1525
F |  | 2: StDev; 3: 11.2315; 5: 7.3131; 7: 6.7212; 9: 8.1641; 11: 8.9769; 13: 14.6701; 15: 10.1789; 17: 16.2866; 19: 14.836; 21: 8.1548
G | None | 2: Avg; 3: 0; 5: 0; 7: 0; 9: 0; 11: 0; 13: 0; 15: 0; 17: 0; 19: 0; 21: 0
H |  | 2: StDev; 3: 0; 5: 0; 7: 0; 9: 0; 11: 0; 13: 0; 15: 0; 17: 0; 19: 0; 21: 0
I | Disulfiram + 1nM Paclitaxel | 2: Avg; 3: 46.8521; 5: 34.822; 7: 16.9423; 9: 29.5243; 11: 42.3847; 13: 44.2068; 15: 75.1714; 17: 81.8165; 19: 83.9453; 21: 78.4069
J |  | 2: StDev; 3: 4.8379; 5: 7.5166; 7: 4.5667; 9: 4.6008; 11: 4.1276; 13: 3.6622; 15: 3.7927; 17: 4.9928; 19: 8.1878; 21: 6.6698
K | Disulfiram + 3nM Paclitaxel | 2: Avg; 3: 28.9006; 5: 18.2525; 7: 16.0619; 9: 22.2372; 11: 35.3568; 13: 37.0681; 15: 39.233; 17: 43.4218; 19: 41.0338; 21: 42.3388
L |  | 2: StDev; 3: 5.7036; 5: 3.9925; 7: 3.3131; 9: 3.1779; 11: 5.1826; 13: 5.1532; 15: 7.0066; 17: 4.4717; 19: 3.2853; 21: 4.5174
M | Disulfiram + 10nM Paclitaxel | 2: Avg; 3: 20.8108; 5: 12.53; 7: 11.1457; 9: 20.0536; 11: 29.6395; 13: 28.1205; 15: 29.1124; 17: 30.4041; 19: 28.5689; 21: 28.7343
N |  | 2: StDev; 3: 3.8971; 5: 2.8896; 7: 3.1619; 9: 3.1628; 11: 6.568; 13: 2.7736; 15: 3.2391; 17: 4.5974; 19: 3.1287; 21: 2.1257
O | Disulfiram + 30nM Paclitaxel | 2: Avg; 3: 13.7863; 5: 11.6585; 7: 10.0507; 9: 15.3415; 11: 18.6715; 13: 21.9718; 15: 20.9613; 17: 20.3611; 19: 20.3531; 21: 20.5448
P |  | 2: StDev; 3: 3.7373; 5: 5.7748; 7: 2.9352; 9: 2.518; 11: 1.5364; 13: 2.2068; 15: 2.0888; 17: 3.8702; 19: 2.2796; 21: 3.8561
|  |  |  | Paclitaxel |  | Disulfiram |  | None |  | Disulfiram + 1nM Paclitaxel |  | Disulfiram + 3nM Paclitaxel |  | Disulfiram + 10nM Paclitaxel |  | Disulfiram + 30nM Paclitaxel
|  |  |  | Average | StDev | Average | StDev | Average | StDev | Average | StDev | Average | StDev | Average | StDev | Average | StDev
|  |  |  | 21.2778 | 2.7567 | 70.7681 | 11.2315 | 0 | 0 | 46.8521 | 4.8379 | 28.9006 | 5.7036 | 20.8108 | 3.8971 | 13.7863 | 3.7373
|  |  |  | 20.9951 | 3.1661 | 44.0377 | 7.3131 | 0 | 0 | 34.822 | 7.5166 | 18.2525 | 3.9925 | 12.53 | 2.8896 | 11.6585 | 5.7748
|  |  |  | 23.3746 | 3.8228 | 36.8346 | 6.7212 | 0 | 0 | 16.9423 | 4.5667 | 16.0619 | 3.3131 | 11.1457 | 3.1619 | 10.0507 | 2.9352
|  |  |  | 22.6909 | 3.3811 | 40.7019 | 8.1641 | 0 | 0 | 29.5243 | 4.6008 | 22.2372 | 3.1779 | 20.0536 | 3.1628 | 15.3415 | 2.518
|  |  |  | 31.8264 | 3.6232 | 99.3837 | 8.9769 | 0 | 0 | 42.3847 | 4.1276 | 35.3568 | 5.1826 | 29.6395 | 6.568 | 18.6715 | 1.5364
|  |  |  | 42.982 | 4.0364 | 101.4112 | 14.6701 | 0 | 0 | 44.2068 | 3.6622 | 37.0681 | 5.1532 | 28.1205 | 2.7736 | 21.9718 | 2.2068
|  |  |  | 89.2383 | 8.3323 | 106.5658 | 10.1789 | 0 | 0 | 75.1714 | 3.7927 | 39.233 | 7.0066 | 29.1124 | 3.2391 | 20.9613 | 2.0888
|  |  |  | 105.3243 | 10.8117 | 104.312 | 16.2866 | 0 | 0 | 81.8165 | 4.9928 | 43.4218 | 4.4717 | 30.4041 | 4.5974 | 20.3611 | 3.8702
|  |  |  | 103.4975 | 12.8035 | 104.9948 | 14.836 | 0 | 0 | 83.9453 | 8.1878 | 41.0338 | 3.2853 | 28.5689 | 3.1287 | 20.3531 | 2.2796
|  |  | Control | 100 | 10.8776 | 97.1525 | 8.1548 | 0 | 0 | 78.4069 | 6.6698 | 42.3388 | 4.5174 | 28.7343 | 2.1257 | 20.5448 | 3.8561

## Plate61-MCF7_DoxoRCer2_Pacli
Application: Tecan i-control |  |  |  | Tecan i-control , 1.12.4.0
Device: infinite M1000 |  |  |  | Serial number: 1009005297
Firmware: V_1.35_08/2010_S3F (Aug 11 2010/09.36.01) |  |  |  | MAI, V_1.35_08/2010_S3F (Aug 11 2010/09.36.01)
Date: | 2021-01-25
Time: | 10:05
System |  |  |  | BR12063
User |  |  |  | COHBRI\pcosgrove
Plate |  |  |  | Corning 384 Flat Bottom Black Polystyrene Cat. No.: 3655/3711 [COS384fb.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Luminescence
Attenuation |  |  |  | NONE
Integration Time |  |  |  | 1000 | ms
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | C3-N22
Start Time: | 2021-01-25 10:05
<> |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B | [25 empty] | Average
C | Paclitaxel |  |  | 5905 | 6443 | 7124 | 6673 | 8107 | 5149 | 7449 | 5124 | 10505 | 6828 | 10520 | 8675 | 14495 | 14068 | 12824 | 10685 | 13942 | 11442 | 13020 | 12340 |  |  | 12652.75
D |  |  |  | 7601 | 5462 | 7558 | 6304 | 7286 | 5347 | 8538 | 5924 | 10260 | 6796 | 12257 | 8307 | 15738 | 10959 | 15651 | 10986 | 16367 | 13189 | 14459 | 10792
E | Disulfiram |  |  | 640 | 479 | 126 | 162 | 273 | 144 | 2781 | 3249 | 13631 | 10672 | 14203 | 11238 | 12780 | 11454 | 15553 | 14339 | 16286 | 11856 | 11930 | 11413 |  |  | 12147.75
F |  |  |  | 1419 | 18 | 259 | 119 | 529 | 149 | 3280 | 2002 | 11622 | 13920 | 15363 | 11432 | 14479 | 11527 | 13617 | 12272 | 15565 | 10803 | 14996 | 10252
G | None | [24 empty] | #DIV/0!
H
I | Disulfiram + 1nM Paclitaxel |  |  | 195 | 296 | 305 | 309 | 285 | 103 | 1746 | 2007 | 9658 | 9102 | 12365 | 10528 | 12569 | 10685 | 14289 | 12649 | 16024 | 10473 | 12472 | 10424 |  |  | 11902.5
J |  |  |  | 2863 | 163 | 1374 | 93 | 229 | 139 | 2940 | 1418 | 9224 | 10127 | 14888 | 11484 | 14114 | 11477 | 13833 | 9001 | 13996 | 8858 | 13822 | 10892
K | Disulfiram + 3nM Paclitaxel |  |  | 424 | 217 | 117 | 86 | 201 | 123 | 2811 | 1787 | 11389 | 6478 | 9142 | 10265 | 12308 | 8894 | 10977 | 8653 | 10270 | 10183 | 11370 | 9176 |  |  | 10369
L |  |  |  | 1073 | 85 | 738 | 47 | 150 | 464 | 2992 | 1894 | 8068 | 8241 | 11074 | 9891 | 11501 | 8686 | 11153 | 9319 | 12188 | 9651 | 12132 | 8798
M | Disulfiram + 10nM Paclitaxel |  |  | 266 | 158 | 221 | 471 | 140 | 272 | 2691 | 1466 | 8294 | 6311 | 8773 | 7797 | 7352 | 6712 | 7308 | 6176 | 8689 | 8017 | 7266 | 6412 |  |  | 7174.5
N |  |  |  | 830 | 142 | 842 | 82 | 331 | 127 | 2807 | 1662 | 8379 | 6686 | 9035 | 7114 | 9406 | 8897 | 9727 | 6731 | 9589 | 7673 | 8656 | 6364
O | Disulfiram + 30nM Paclitaxel |  |  | 349 | 102 | 340 | 253 | 239 | 103 | 2466 | 1561 | 6230 | 5097 | 6906 | 5836 | 6397 | 5958 | 7883 | 6782 | 8919 | 6678 | 6216 | 5922 |  |  | 6696.5
P |  |  |  | 530 | 514 | 660 | 15 | 104 | 81 | 1920 | 1627 | 7750 | 5302 | 7936 | 6189 | 8245 | 6371 | 7326 | 6265 | 9343 | 5074 | 8394 | 6254
Avg DMSO Control |  | 1: 10849.3
<> |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B
C | Paclitaxel |  |  | 46.6697 | 50.9217 | 56.304 | 52.7395 | 64.073 | 40.6947 | 58.8726 | 40.4971 | 83.0254 | 53.9646 | 83.144 | 68.5622 | 114.5601 | 111.1853 | 101.3535 | 84.448 | 110.1895 | 90.4309 | 102.9025 | 97.5282
D |  |  |  | 60.0739 | 43.1685 | 59.734 | 49.8232 | 57.5843 | 42.2596 | 67.4794 | 46.8199 | 81.0891 | 53.7116 | 96.8722 | 65.6537 | 124.384 | 86.6136 | 123.6964 | 86.827 | 129.3553 | 104.2382 | 114.2756 | 85.2937
E | Disulfiram |  |  | 5.0582 | 3.7857 | 0.99583 | 1.2804 | 2.1576 | 1.1381 | 21.9794 | 25.6782 | 107.7315 | 84.3453 | 112.2523 | 88.8186 | 101.0057 | 90.5258 | 122.9219 | 113.3271 | 128.7151 | 93.7029 | 94.2878 | 90.2017
F |  |  |  | 11.215 | 0.14226 | 2.047 | 0.94051 | 4.1809 | 1.1776 | 25.9232 | 15.8226 | 91.8535 | 110.0156 | 121.4202 | 90.3519 | 114.4336 | 91.1027 | 107.6209 | 96.9908 | 123.0167 | 85.3806 | 118.5197 | 81.0259
G | None |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
H |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
I | Disulfiram + 1nM Paclitaxel |  |  | 1.5412 | 2.3394 | 2.4105 | 2.4422 | 2.2525 | 0.81405 | 13.7994 | 15.8622 | 76.3312 | 71.9369 | 97.7258 | 83.2072 | 99.3381 | 84.448 | 112.932 | 99.9704 | 126.6444 | 82.7725 | 98.5715 | 82.3853
J |  |  |  | 22.6275 | 1.2883 | 10.8593 | 0.73502 | 1.8099 | 1.0986 | 23.2361 | 11.207 | 72.9011 | 80.0379 | 117.6661 | 90.7629 | 111.5489 | 90.7076 | 109.328 | 71.1387 | 110.6163 | 70.0085 | 109.2411 | 86.0841
K | Disulfiram + 3nM Paclitaxel |  |  | 3.3511 | 1.715 | 0.9247 | 0.67969 | 1.5886 | 0.97212 | 22.2165 | 14.1234 | 90.0121 | 51.1984 | 72.2531 | 81.1286 | 97.2753 | 70.293 | 86.7558 | 68.3883 | 81.1681 | 80.4805 | 89.8619 | 72.5218
L |  |  |  | 8.4804 | 0.67179 | 5.8327 | 0.37146 | 1.1855 | 3.6672 | 23.647 | 14.9691 | 63.7648 | 65.1321 | 87.5225 | 78.1727 | 90.8972 | 68.6491 | 88.1468 | 73.652 | 96.3269 | 76.2759 | 95.8843 | 69.5343
M | Disulfiram + 10nM Paclitaxel |  |  | 2.1023 | 1.2487 | 1.7467 | 3.7225 | 1.1065 | 2.1497 | 21.2681 | 11.5864 | 65.551 | 49.8785 | 69.3367 | 61.623 | 58.1059 | 53.0478 | 57.7582 | 48.8115 | 68.6728 | 63.3617 | 57.4263 | 50.6767
N |  |  |  | 6.5598 | 1.1223 | 6.6547 | 0.64808 | 2.616 | 1.0037 | 22.1849 | 13.1355 | 66.2228 | 52.8423 | 71.4074 | 56.2249 | 74.3396 | 70.3167 | 76.8766 | 53.1979 | 75.7859 | 60.6429 | 68.412 | 50.2974
O | Disulfiram + 30nM Paclitaxel |  |  | 2.7583 | 0.80615 | 2.6872 | 1.9996 | 1.8889 | 0.81405 | 19.4898 | 12.3372 | 49.2383 | 40.2837 | 54.581 | 46.1244 | 50.5582 | 47.0886 | 62.3027 | 53.601 | 70.4906 | 52.779 | 49.1277 | 46.8041
P |  |  |  | 4.1888 | 4.0624 | 5.2163 | 0.11855 | 0.82196 | 0.64018 | 15.1746 | 12.8589 | 61.2515 | 41.9039 | 62.7215 | 48.9143 | 65.1637 | 50.3527 | 57.9005 | 49.5149 | 73.8417 | 40.102 | 66.3413 | 49.428
<> |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B
C | Paclitaxel | 2: Avg; 3: 50.2085; 5: 54.6502; 7: 51.1529; 9: 53.4172; 11: 67.9477; 13: 78.558; 15: 109.1858; 17: 99.0812; 19: 108.5535; 21: 100
D |  | 2: StDev; 3: 7.3011; 5: 4.3024; 7: 11.5001; 9: 12.0825; 11: 16.3118; 13: 14.4092; 15: 16.0559; 17: 18.0312; 19: 16.1497; 21: 12.0361
E | Disulfiram | 2: Avg; 3: 5.0503; 5: 1.3159; 7: 2.1636; 9: 22.3509; 11: 98.4865; 13: 103.2108; 15: 99.267; 17: 110.2152; 19: 107.7039; 21: 96.0088
F |  | 2: StDev; 3: 4.6076; 5: 0.50961; 7: 1.4252; 9: 4.7113; 11: 12.4145; 13: 16.1845; 15: 11.1969; 17: 10.8437; 19: 21.3722; 21: 15.9991
G | None | 2: Avg; 3: 0; 5: 0; 7: 0; 9: 0; 11: 0; 13: 0; 15: 0; 17: 0; 19: 0; 21: 0
H |  | 2: StDev; 3: 0; 5: 0; 7: 0; 9: 0; 11: 0; 13: 0; 15: 0; 17: 0; 19: 0; 21: 0
I | Disulfiram + 1nM Paclitaxel | 2: Avg; 3: 6.9491; 5: 4.1118; 7: 1.4937; 9: 16.0262; 11: 75.3018; 13: 97.3405; 15: 96.5106; 17: 98.3423; 19: 97.5104; 21: 94.0705
J |  | 2: StDev; 3: 10.4619; 5: 4.5685; 7: 0.6567; 9: 5.1702; 11: 3.6777; 13: 14.7907; 15: 11.7378; 17: 18.9405; 19: 25.7819; 21: 12.2574
K | Disulfiram + 3nM Paclitaxel | 2: Avg; 3: 3.5546; 5: 1.9521; 7: 1.8534; 9: 18.739; 11: 67.5268; 13: 79.7692; 15: 81.7787; 17: 79.2357; 19: 83.5629; 21: 81.9506
L |  | 2: StDev; 3: 3.4641; 5: 2.5969; 7: 1.2359; 9: 4.8887; 11: 16.249; 13: 6.3509; 15: 14.4637; 17: 9.7435; 19: 8.7798; 21: 12.9074
M | Disulfiram + 10nM Paclitaxel | 2: Avg; 3: 2.7583; 5: 3.193; 7: 1.719; 9: 17.0437; 11: 58.6236; 13: 64.648; 15: 63.9525; 17: 59.1611; 19: 67.1158; 21: 56.7031
N |  | 2: StDev; 3: 2.5715; 5: 2.6352; 7: 0.79099; 9: 5.4569; 11: 8.4781; 13: 7.0184; 15: 10.0248; 17: 12.3623; 19: 6.673; 21: 8.4651
O | Disulfiram + 30nM Paclitaxel | 2: Avg; 3: 2.9539; 5: 2.5054; 7: 1.0413; 9: 14.9651; 11: 48.1694; 13: 53.0853; 15: 53.2908; 17: 55.8298; 19: 59.3033; 21: 52.9253
P |  | 2: StDev; 3: 1.5711; 5: 2.1083; 7: 0.57129; 9: 3.2588; 11: 9.552; 13: 7.3245; 15: 8.0733; 17: 5.5085; 19: 15.7879; 21: 9.0206
|  |  |  | Paclitaxel |  | Disulfiram |  | None |  | Disulfiram + 1nM Paclitaxel |  | Disulfiram + 3nM Paclitaxel |  | Disulfiram + 10nM Paclitaxel |  | Disulfiram + 30nM Paclitaxel
|  |  |  | Average | StDev | Average | StDev | Average | StDev | Average | StDev | Average | StDev | Average | StDev | Average | StDev
|  |  |  | 50.2085 | 7.3011 | 5.0503 | 4.6076 | 0 | 0 | 6.9491 | 10.4619 | 3.5546 | 3.4641 | 2.7583 | 2.5715 | 2.9539 | 1.5711
|  |  |  | 54.6502 | 4.3024 | 1.3159 | 0.50961 | 0 | 0 | 4.1118 | 4.5685 | 1.9521 | 2.5969 | 3.193 | 2.6352 | 2.5054 | 2.1083
|  |  |  | 51.1529 | 11.5001 | 2.1636 | 1.4252 | 0 | 0 | 1.4937 | 0.6567 | 1.8534 | 1.2359 | 1.719 | 0.79099 | 1.0413 | 0.57129
|  |  |  | 53.4172 | 12.0825 | 22.3509 | 4.7113 | 0 | 0 | 16.0262 | 5.1702 | 18.739 | 4.8887 | 17.0437 | 5.4569 | 14.9651 | 3.2588
|  |  |  | 67.9477 | 16.3118 | 98.4865 | 12.4145 | 0 | 0 | 75.3018 | 3.6777 | 67.5268 | 16.249 | 58.6236 | 8.4781 | 48.1694 | 9.552
|  |  |  | 78.558 | 14.4092 | 103.2108 | 16.1845 | 0 | 0 | 97.3405 | 14.7907 | 79.7692 | 6.3509 | 64.648 | 7.0184 | 53.0853 | 7.3245
|  |  |  | 109.1858 | 16.0559 | 99.267 | 11.1969 | 0 | 0 | 96.5106 | 11.7378 | 81.7787 | 14.4637 | 63.9525 | 10.0248 | 53.2908 | 8.0733
|  |  |  | 99.0812 | 18.0312 | 110.2152 | 10.8437 | 0 | 0 | 98.3423 | 18.9405 | 79.2357 | 9.7435 | 59.1611 | 12.3623 | 55.8298 | 5.5085
|  |  |  | 108.5535 | 16.1497 | 107.7039 | 21.3722 | 0 | 0 | 97.5104 | 25.7819 | 83.5629 | 8.7798 | 67.1158 | 6.673 | 59.3033 | 15.7879
|  |  | Control | 100 | 12.0361 | 96.0088 | 15.9991 | 0 | 0 | 94.0705 | 12.2574 | 81.9506 | 12.9074 | 56.7031 | 8.4651 | 52.9253 | 9.0206